## Slide 1: SlicerIGT tutorial 2021
brain surgery navigation with live tractography
for 3D Slicer version 4.11.20210226

## Slide 2: Install Slicer
Visit http://download.slicer.org/
Download Slicer version 4.11.20210226 (blue buttons) for your operating system
Run the downloaded installer
Start up Slicer
1

## Slide 3: Install Slicer extensions
1. click
5. click
6. click
3. click
4. click
2. Find and install these extensions: SlicerIGT, SlicerDMRI

## Slide 4: Approve restart of Slicer (if asked)
1. check
2. click

## Slide 5: Verify extensions installed

## Slide 6: Unzip tutorial data folder
1. click
2. click

## Slide 7
Open dialog

## Slide 8
1
2
3
2
2
2

## Slide 9
1

## Slide 10: About the loaded data
SkullCtModel.stl: Segmentation from CT scan of a plastic skull model
MRI.nrrd: Magnetic resonance image of a person. (not the same one the plastic model was based on)
DTIVolume.nhdr: Diffusion tensor image (from a third person)
NeuroNavSequences.mrb: Time sequences for replaying tool motions
All image volumes are already registered roughly (they more or less overlap, but they come from different patients, so the overlap is not perfect)

## Slide 11
1
2. open selector
3

## Slide 12
1
2. open selector
3

## Slide 13
1
2
3

## Slide 14
Try 3D interactions
Mouse left button drag – rotations
Mouse wheel – zoom
Mouse middle button drag – panning
Try 2D interactions
Mouse wheel – change slice
Mouse right button drag – zoom
Mouse middle button drag – panning
Mouse left button drag – intensity windowing

## Slide 15
select
1
2

## Slide 16
2. Press once
1. see
You won’t see anything when you click, but don’t worry, the needle model is created.

## Slide 17
3
5
6. Rename to “StylusTip”
1
2. see
4. Right click

## Slide 18
1. Right-click on Scene
2
3. Double-click to rename new transform
4. Name it StylusTipToStylus

## Slide 19
1
2
3

## Slide 20
You can drag and drop the position of the toolbar grabbing this grey vertical bar. Putting it in a new line gives it more space.

## Slide 21
1

## Slide 22
1. Drag and drop transformable nodes to create transform hierarchy
2. Drag and drop until the transform hierarchy looks like this

## Slide 23
1
2. Zoom out and rotate to see the blue stick (StylusTip) move

## Slide 24
3. select
1
2

## Slide 25
1
2
3. (optional)
4. then wait 5 seconds
5. see: tip position should remain roughly stable
7. Check RMSE
6. collapse (this tab is not needed now)

## Slide 26
1. pause
2

## Slide 27
1. play
2
3. StylusTip direction remain roughly stationary
4. Check RMSE

## Slide 28
1
1. pause

## Slide 29
1
2 right-click
3
4. Double-click to rename to “ReferenceToRas”
RAS is the coordinate system of the Slicer views
6. Drag and drop StylusToReference to create this new hierarchy

## Slide 30
3. select
1
2

## Slide 31
1
2
3
4

## Slide 32
1
2
3
4

## Slide 33
1. Maybe need to scroll down to see “result”
3. select ReferenceToRas
2

## Slide 34
Make sure this button is unchecked when interacting with 3D viewer!
1

## Slide 35
1. Set up 3D viewer like this to see the right side of the skull
2
3. click here

## Slide 36
Notice blue point created
Notice point added to list

## Slide 37
1. Similarly, create the second point here

## Slide 38
1. And the third one here

## Slide 39
1. Expand Place box
2. Select StylusTipToStylus in upper (From) selector
Note: When you press Place ‘From’,
a new point will be created in
the From list at the position of the StylusTip

## Slide 40
1

## Slide 41
1. Select Four-up

## Slide 42
1
2
3. see
1
Scroll time to the point where the stylus on the video points to the first registration point

## Slide 43
1
2
3. see
1

## Slide 44
1
2
3. see
1
4. see
5. uncheck

## Slide 45: Troubleshooting
Delete
1
2. see
How to reset registration (after a completed registration)
3
How to redo one point (before registration completed)
Very important to reset to Identity before starting a new registration!

## Slide 46
2. Volume Reslice Driver

## Slide 47
1. select yellow driver node

## Slide 48
1. select green driver node

## Slide 49
1
4. Move
2
3

## Slide 50
1
3. scroll down to see this option and check it
4. see
2. select
4. see

## Slide 51
1. module history
2. Back to Volume Reslice Driver

## Slide 52
1
3
2
These advanced view options are used to set up viewers in a way that navigation is intuitive for the surgeon. E.g. stylus movement to the left results stylus model movement to the left in the viewers

## Slide 53
1
2

## Slide 54
1
2. click anywhere
3. double-click each coordinate and set to zero

## Slide 55
1
2. drag and drop “F” here
Result: overlapping red point

## Slide 56
1
2. double-click
3
4

## Slide 57
1 double-click
2

## Slide 58
Tractography Seeding

## Slide 59
1
2
3
see result
4