## Slide 1: Deep Learn Live
Setup tutorial

## Slide 2: Requirements
3D Slicer (http://download.slicer.org/)
  Latest nightly
Deep Learn Live (https://github.com/SlicerIGT/aigt)
  Download/Clone in a location you will remember
Anaconda3

## Slide 3: Setup Anaconda Environment
Use any existing environment you’ve created that has the following packages:
    tensorflow (version 2.1.0 or greater)
    pandas
    opencv-python
    girder_client
    matplotlib
    scikit-learn
    pyigtl
  All packages can be installed using pip/conda install
  Must downgrade h5py after installing tensorflow (conda update h5py=2.7.1)
Use the premade tensorflow environment file included with the tutorial
  conda env create –f <Your local path>/kerasGPUEnv.yml

## Slide 4: Install Deep Learn Live
Open the Extension Wizard from the Module Menu
  Modules -> Developer Tools -> Extension Wizard
Click “Select Extension”
Navigate to the Deep Learn Live Directory you downloaded earlier
Select “Yes” when asked to add modules to search path

## Slide 5: Install Deep Learn Live
Installing the Deep Learn Live will cause some libraries to be installed in Slicer via the command line
Wait until libraries finish downloading, then restart Slicer
  You will see a popup about the module factory manager. This is fine.
  Close and restart Slicer

## Slide 6: Install Slicer Extensions
Open Slicer’s Extension Manager
Install Slicer Extensions
  SlicerIGT
  SlicerOpenIGTLink
  SlicerIGSIO
When the installation is complete, restart Slicer as prompted

## Slide 7: Confirm Correct Installation
After restarting Slicer, check that there are no messages in the python interactor
Under the module menu, you should see “Deep Learn Live”
  Hover over it to confirm that all three modules have been loaded
    Data Collection
    Run Neural Net
    Train Neural Net